## malibu
Malibu Beach, Dorchester: Bacterial Water Quality 2015
Bacteria monitoring is conducted by the Massachusetts Dept. of Conservation and Recreation (DCR) during the swimming season.
Bacteria samples are collected at one location along the beach, and test results are available 24 hours later.
High bacteria triggers a swimming advisory and repeated sampling until bacteria meet limits.
Displayed are Enterococcus bacteria counts, with high counts in red. The maximum daily limit is 104 counts/100 mL.
A swimming advisory is declared by the DCR for the following day if:
▪ Enterococcus counts exceed 104 counts/100 mL limit;
▪ OR if daily rainfall exceeds 0.25 inches;
▪ OR if the 5-day running geometric mean exceeds 35 counts/100 mL (geometric mean of the previous 5 days' samples).
Daily rainfall totals from Logan Airport, National Weather Service raingauge
All results are in counts/100 mL and testing is performed by DCR.
Swimming advisories will be issued due to either high Enterococcus counts or heavy rainfall.
Weekly sampling by DCR began May 21, 2015. Daily sampling began June 14, 2015 and ended September 6, 2015.
| Daily Rainfall (in.) | Bathhouse
2015-05-21 | 0 | 18
2015-05-28 | Trace | 4
2015-06-04 | 0 | 38
2015-06-11 | 0 | 7
2015-06-12 | 0 | 15
2015-06-13 | Trace | 10
2015-06-14 | 0 | 20
2015-06-15 | 0.4 | 63
2015-06-16 | Trace | 31
2015-06-17 | 0 | 5
2015-06-18 | 0 | 3
2015-06-19 | 0 | 25
2015-06-20 | 0.04 | 10
2015-06-21 | 1.72 | 20
2015-06-22 | 0 | 262
2015-06-23 | 0.01 | 20
2015-06-24 | 0 | 41
2015-06-25 | 0 | 2
2015-06-26 | Trace | 4
2015-06-27 | 0.2 | 20
2015-06-28 | 1.43 | 74
2015-06-29 | 0 | 327
2015-06-30 | 0 | 216
2015-07-01 | 0.54 | 10
2015-07-02 | 0 | 415
2015-07-03 | 0 | 4
2015-07-05 | 0 | <2
2015-07-06 | 0 | <10
2015-07-07 | 0.02 | <10
2015-07-08 | Trace | 185
2015-07-09 | 0.15 | 55
2015-07-10 | 0.12 | 48
2015-07-11 | 0 | <10
2015-07-12 | 0 | 20
2015-07-13 | 0 | 41
2015-07-14 | 0.03 | 20
2015-07-15 | Trace | 31
2015-07-16 | 0 | 13
2015-07-17 | Trace | 10
2015-07-18 | 0.14 | <10
2015-07-19 | Trace | 31
2015-07-20 | Trace | 20
2015-07-21 | Trace | 30
2015-07-22 | 0 | <10
2015-07-23 | 0 | 8
2015-07-24 | 0.01 | 22
2015-07-25 | 0 | <10
2015-07-26 | Trace | <10
2015-07-27 | 0.06 | 10
2015-07-28 | 0 | <10
2015-07-29 | 0 | 109
2015-07-30 | 0.02 | >2600
2015-07-31 | 0 | 7
2015-08-01 | Trace | 4
2015-08-02 | 0 | 5
2015-08-03 | 0 | <2
2015-08-04 | 0.49 | 933
2015-08-05 | 0 | 845
2015-08-06 | 0 | 22
2015-08-07 | 0 | 40
2015-08-08 | 0 | 10
2015-08-09 | 0 | 10
2015-08-10 | 0 | 20
2015-08-11 | 0.83 | 31
2015-08-12 | 0 | 2760
2015-08-13 | 0 | 6
2015-08-14 | 0 | <2
2015-08-15 | 0.08 | <10
2015-08-16 | 0 | 98
2015-08-17 | 0 | 231
2015-08-18 | 0.14 | 62
2015-08-19 | 0 | 41
2015-08-20 | 0 | 4
2015-08-21 | 0.63 | 13
2015-08-22 | Trace | 110
2015-08-23 | 0.02 | 10
2015-08-24 | Trace | 20
2015-08-25 | 0 | 10
2015-08-26 | Trace | 30
2015-08-27 | 0 | 32
2015-08-28 | 0 | 12
2015-08-29 | 0 | 30
2015-08-30 | 0 | 10
2015-08-31 | 0 | <2
2015-09-01 | 0 | 10
2015-09-02 | 0 | 13
2015-09-03 | 0.01 | 49
2015-09-04 | Trace | 8
2015-09-05 | 0 | 20
2015-09-06 | 0 | 10