## tenean
Tenean Beach, Dorchester: Bacterial Water Quality 2019
Bacteria monitoring is conducted by the Massachusetts Dept. of Conservation and Recreation (DCR) during the swimming season.
Bacteria samples are collected at one location along the beach, and test results are available 24 hours later.
High bacteria triggers a swimming advisory and repeated sampling until bacteria meet limits.
Displayed are Enterococcus bacteria counts, with high counts in red. The maximum daily limit is 104 counts/100 mL.
A swimming advisory is declared by the DCR for the following day if:
▪ Enterococcus counts exceed 104 counts/100 mL limit;
▪ OR if daily rainfall exceeds 0.25 inches;
▪ OR if the 5-day running geometric mean exceeds 35 counts/100 mL (geometric mean of the previous 5 days' samples).
Daily rainfall totals from Logan Airport, National Weather Service raingauge.
All results are in counts/100 mL and testing is performed by DCR.
Swimming advisories will be issued due to either high Enterococcus counts or heavy rainfall.
Weekly sampling by DCR began May 23, 2019; daily sampling began June 13, 2019.
| Daily Rainfall (in.) | Mid-beach
2019-05-23 | 0.12 | 3
2019-05-24 | 0 | 18
2019-05-30 | 0.23 | 13
2019-05-31 | 0.07 | 108
2019-06-01 | 0 | 30
2019-06-06 | 0.01 | 21
2019-06-07 | 0 | 118
2019-06-08 | 0 | 30
2019-06-10 | 0.14 | 22
2019-06-13 | 0.63 | 35
2019-06-14 | 0 | 32
2019-06-15 | 0 | 52
2019-06-16 | 0.11 | 109
2019-06-17 | 0 | 63
2019-06-18 | 0.1 | 52
2019-06-19 | 0 | 35
2019-06-20 | 0.37 | 117
2019-06-21 | 1.19 | >2600
2019-06-22 | Trace | 5172
2019-06-23 | 0 | 341
2019-06-24 | 0 | 216
2019-06-25 | 0.13 | 85
2019-06-26 | 0 | 110
2019-06-27 | 0 | 26
2019-06-28 | 0 | 38
2019-06-29 | 1.65 | 223
2019-06-30 | 0.16 | 1779
2019-07-01 | 0 | 1198
2019-07-02 | 0 | 37
2019-07-03 | 0 | 12
2019-07-04 | 0 | 2
2019-07-05 | 0 | 7
2019-07-06 | 1.37 | 85
2019-07-07 | 0 | 884
2019-07-08 | 0 | 218
2019-07-09 | 0 | 74
2019-07-10 | 0 | 119
2019-07-11 | 0.02 | 23
2019-07-12 | 0.81 | 138
2019-07-13 | 0 | 441
2019-07-14 | 0 | 63
2019-07-15 | 0 | 354
2019-07-16 | 0 | 52
2019-07-17 | 0.43 | 20
2019-07-18 | 0.04 | >2600
2019-07-19 | 0 | 84
2019-07-20 | 0 | 30
2019-07-21 | 0 | 63
2019-07-22 | 0.85 | 185
2019-07-23 | 1.03 | 8164
2019-07-24 | Trace | 644
2019-07-25 | 0 | 70
2019-07-26 | 0 | 5
2019-07-27 | 0 | <10
2019-07-28 | 0 | 20
2019-07-29 | 0.01 | 31
2019-07-30 | 0 | <10
2019-07-31 | 1.25 | 20
2019-08-01 | 0 | 37
2019-08-02 | 0 | 12
2019-08-03 | Trace | 6
2019-08-04 | 0 | 10
2019-08-05 | 0 | 369
2019-08-06 | 0 | 20
2019-08-07 | 1.9 | 41
2019-08-08 | 0.38 | 103
2019-08-09 | 0 | 49
2019-08-10 | Trace | 495
2019-08-11 | 0 | 410
2019-08-12 | 0 | 10
2019-08-13 | Trace | 243
2019-08-14 | Trace | 993
2019-08-15 | 0 | 97
2019-08-16 | 0 | 10
2019-08-17 | Trace | 31
2019-08-18 | 0.16 | 52
2019-08-19 | 0.01 | 30
2019-08-20 | 0 | 74
2019-08-21 | 0.08 | 10
2019-08-22 | Trace | 14
2019-08-23 | Trace | 62
2019-08-24 | 0 | 122
2019-08-25 | Trace | 41
2019-08-26 | 0 | 52
2019-08-27 | 0 | 86
2019-08-28 | 0.65 | 52
2019-08-29 | 0.3 | 1100