MASSACHUSETTS WATER RESOURCES AUTHORITY

SEWER USE DISCHARGE PERMIT APPLICATION

FOR PUBLICLY OWNED DRINKING WATER TREATMENT PLANTS

INSTRUCTION SHEET

Massachusetts Water Resources Authority (MWRA) Sewer Use Rules and Regulations, 360 C.M.R. 10.007 and 10.052, require sewer users to complete and file a Sewer Use Discharge Permit Application.  The Application must be filed with the MWRA and the Municipality in which the sewer user's discharge is located. Failure to submit a copy of the application to the Municipality may delay the processing of the permit.  Please read the following instructions before completing the application. If you have any questions, please call the Toxic Reduction and Control Department at (617) 242-6000 and ask to speak to the Industrial Coordinator for the community in which your facility is located.

1.	Answer all questions carefully.

2.	The application is designed to apply to all publicly owned drinking water treatment plants located within the MWRA's sewer service area.  It consists of "standard application", sections  which every user must complete. The tables may not entirely reflect your operations. You may slightly alter the tables to better suit your needs so long as you do not significantly change the question by doing so.

3.	For the questions which do not apply, please write "N/A" or "not applicable" in the space provided.

4.	If more space is needed, attach additional pages.

5.	If you have previously submitted information required by the application and that information is unchanged, you must resubmit the information.  If there are only minor changes, you may resubmit the information, and on a separate sheet indicate the changes that have occurred, with page references for each change.

6.	All information that the application requires you to maintain on site must be kept in one central location. This information includes: Material Safety Data Sheets(MSDS), Hazardous Waste Manifests, Chemical Inventories, Pretreatment System Maintenance Procedures, etc.

7.	The application must be signed and dated by your authorized representative.  If an authorization is no longer accurate because a different individual or position has responsibility for the overall operation of the facility, or overall responsibility for environmental matters, a new authorization satisfying the requirements of this section must be submitted to the MWRA prior to or together with any reports to be signed by an authorized representative.

An authorized representative of a municipality includes:

a)  a responsible public official, including a Mayor, City Manager, Town Administrator, Chair of the Board of Selectman, District Manager, or any other person who performs similar policy or decision-making functions for the municipality or Water District, or the director, manager, or superintendent of the department responsible for operating or overseeing the operation of the Water Treatment Plant, if authority to sign documents has been assigned or delegated to the individual in accordance with the munipality's procedures.

b)  the duly authorized representative of the individual designated in (a) of this section if:

i)	the authorization is made in writing by the individual described in (a);

ii)	the authorization specifies either an individual or a position having responsibility for the overall operation of the facility from which the dishcarge originates, such as the position of plant manager, operator of a well, or well field superintendent, or a position of equivalent responsibility, or having overall responsibility for environmental matters for the municipality;

iii)	the written authorization is submitted to the MWRA.

8.	Note that Section C, Question 5, of this application requires that the applicant complete a hydraulic analysis of the sewer system which will receive the effluent from the water treatment plant.  This analysis, required for all proposed discharges, must be prepared under the direction of a professional engineer registered in the Commonwealth of Massachusetts, and be submitted with the application.

9.	Submit the original completed form and four (4) copies to the MWRA and a copy to the Municipality at the address below.  Keep a copy for your own records.

10.	You must submit a completed application no later than (60) days before your current permit expires for your current permit to remain in effect pending a decision on your new application.

MWRA ADDRESS:					MUNICIPAL ADDRESS:

Massachusetts Water Resources Authority

2 Griffin Way

Chelsea, MA 02150-3334

Attention:  TRAC

MASSACHUSETTS WATER RESOURCES AUTHORITY

SEWER USE DISCHARGE PERMIT APPLICATION

FOR PUBLICLY OWNED DRINKING WATER TREATMENT PLANTS

SECTION A - GENERAL INFORMATION

1. Name of Facility:

2. Permit/Mailing

Address:

3. Billing Address:

Billing Contact:

4. Facility Address:

5. How long has the facility been at this address?

6. Facility representative to contact concerning information provided herein:

Name:____________________________    Title:	_____________________________________

Telephone:__________________________ Address:	___________________________________

Telefax:____________________________         	___________________________________

7. Name and Title of Preparer (if different from #6 above):

Name:____________________________    Title:	_____________________________________

Company: ______________________________________________________________________

Telephone:__________________________ Address:	___________________________________

Telefax:____________________________         	___________________________________

8. Name and Title of Authorized Representative (if different from #6 above):

Name:______________________________ Title:	___________________________________

Telephone:_________________________  Address:	___________________________________

Telefax:___________________________        	___________________________________

9. Name of Person to Receive Permit (if different from #6 above):

Name:______________________________ Title:	___________________________________

Telephone:_________________________ Address:	___________________________________

Telefax:___________________________               	__________________________________

10. Check One:	_____ New Permit     _____ Renewal Permit

If New Permit, provide date of proposed initial discharge __________

SECTION B - CERTIFICATION STATEMENT AND SIGNATURE

I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted.  Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete.  I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations.

Date			Signature of Authorized Representative

Please Print Name of Authorized Representative

Name of Facility

Street Address of Facility

City			State		Zip Code

SECTION C - HYDRAULIC CAPACITY

The applicant must complete this section to demonstrate that there is adequate capacity in the sewer system to accept the discharge of water treatment plant residuals without negatively effecting the operation of the municipal and MWRA sewer systems.  For each question, please indicate the source of the information.

1a.	Describe each municipal sewer that will receive the proposed discharge(s).  Include connection location, section number, size, slope, material, etc. for each proposed discharge. (Attach additional pages if necessary.)

1b.	Provide the following information for each municipal sewer that will carry the discharge:

| Estimated Design Capacity | Existing Flow | Total Flow with new Connection |
| --- | --- | --- |
| _____________MGD | ________Minimum MGD | ________Minimum MGD |
|  | ________Average MGD | ________Average MGD |
|  | ________Peak MGD | ________Peak MGD |

1c.	Provide the following flow information on the proposed discharge:

Average daily flow:______________ gallons per day (gpd)

Peak one day flow:_______________ gpd

Average flow rate:_______________ gallons per minute (gpm)

Peak flow rate:__________________ gpm

2.	Describe the MWRA sewer that will receive the proposed discharge(s).  The information shall include connection location and section number for each proposed discharge.  MWRA sewer system information can be found by contacting the Director of Transport, Sewerage Division, MWRA, at (617) 305-5921.

SECTION C -  HYDRAULIC CAPACITY (continued)

3.	List the municipal sewerage pumping stations downstream of the proposed discharge and provide the following information (in million gallons per day):

| Name & Location | Pumping Capacity Average Peak |  | Existing Flows Average Peak |  | Proposed Flows Average Peak |  |
| --- | --- | --- | --- | --- | --- | --- |

4.	If a municipal sewer does not have adequate capacity to transport peak dry or wet weather flows, provide with this application a report describing how the proposed discharge(s) will be controlled to insure that the downstream sewer system will not surcharge during dry and/or wet weather events and that the capacity of downstream municipal pumping stations will not be exceeded.

5.	This application must be supported by a hydraulic analysis prepared under the direction of and stamped by a professional engineer registered in the Commonwealth of Massachusetts.  The analysis must demonstrate that the proposed discharge will not adversely affect the municipal sewer system.

Note:	The MWRA will perform a hydraulic analysis of the proposed discharge to determine the effect of the discharge on the MWRA system, including impacts to combined sewer overflows.  If the MWRA determines that the proposed discharge will have an adverse impact on the MWRA system, the Applicant will be required to submit a report describing how the proposed discharge will be controlled to insure no adverse impacts.

SECTION D - PLANT OPERATIONAL CHARACTERISTICS

1.	Operational Information:

a. Total operating hours per work day _________

b. Number of operating shifts per day _________

c. Number of employees per first shift_________

second shift________

third shift_________

d. Number of operating days per week __________

e. Average annual work days per year __________

f. Number of employees  _______

2.	If the operation is subject to seasonal variation, please describe:

3.	Does the facility implement any of the following management plans?

(Indicate yes or no for each):

_____ Spill Prevention and Control and Countermeasure Plan

_____ Source Reduction Plan

_____ Toxicity Reduction Evaluation

_____ Toxic Organic Management Plan

_____ Filter Backwash Recycling

SECTION E - WATER USAGE

1.	Water Sources:

Provide the name and location of the water source(s) of the drinking water being treated.

What is the amount (in gallons) of water treated per day from each source?

Are the amounts measured or estimated?   If estimated, how was the estimate determined?

2.	Has the incoming water to the treatment plant been analyzed within the past year?  If so, please attach a copy of the most recent results.

SECTION F - CHEMICAL USAGE/OTHER PERMITS

1.	List chemicals and raw materials used in the facility that could contribute to wastewaters discharged to the sanitary sewer system. List only those present in quantities of 5 gallons/5 pounds or greater.  Include MSDS documents and chemical analyses of the chemicals and materials.

| Chemical/Material | Quantity Used Per Year | Chemical/Material | Quantity Used Per Year |
| --- | --- | --- | --- |

2.	Have you prepared a Toxic Chemical Release Inventory reporting form, (Form R) in response to the Superfund Amendment and Reauthorization Act (SARA) section 313?

Yes____    No ____

3.	Please maintain at your facility in one centralized location, reports that indicate usage of chemicals covered under the Superfund Amendment and Reauthorization Act (SARA) Title III, including the quantities used per year.

Examples of reports that should be maintained if they exist, and made available upon MWRA request, include:

Biennial DEP Report

Inventories with Local Fire Departments

SARA Title III Report

Reports required under TURA

Other Reports/Inventories which would illustrate chemical usage

Please list the reports that you maintain at your facility:

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

SECTION F - CHEMICAL USAGE/OTHER PERMITS (continued)

4.	Please list all other environmental permits held for the facility and all environmental permits not now held by the facility that it requires.  For each permit, indicate issuance date, expiration date, and permit number.  If a permit has not yet been issued or has expired, indicate the date of your latest application for the permit.

SECTION G - SEWER CONNECTION(S) AND PIPING & INSTRUMENTATION 	DIAGRAM

1.	Attach a drawing/map of the facility showing all buildings and identify the operations conducted in each building.  In the buildings from which process wastewater discharges, label alphabetically the sewer connections to which the processes discharge. Also label the nearest downstream manhole with the same letter.  Indicate if both process and sanitary wastewater discharge through a common connection.  Name all surrounding streets and buildings, and any other pertinent physical structures that may facilitate field orientation.  Note that if you propose to connect directly into a pipe owned by the MWRA, you must adhere to the policies and procedures of the MWRA's direct connection program, which requires the completion and filing of a direct connection permit application.  This application can be obtained by calling the MWRA Sewerage Division, Director of Transport, at (617) 305-5921.

2.	Attach a Piping and Instrumentation Diagram (P & I D) of your facility. The P & I D should be a schematic of all tanks, process equipment, pretreatment equipment, flow and pH meters, pipes and valves. The P & I D should show the paths of all pipes, and all discharge points to the sewer and storm drains - including sumps and floor drains.  Identify sewer connections as you did in the drawing/map of the facility.

SECTION  H - NON-DISCHARGED WASTE

1.	Are any waste liquids or sludges removed from the facility site?    Yes____    No____

If yes, they may be best quantified as:

| Waste Type | Estimated Gallons/Year |
| --- | --- |
| Waste Solvent |  |
| Waste Product |  |
| Oil |  |
| Grease |  |
| Treatment Sludge |  |
| Thinner |  |
| Acids and Alkalis |  |
| Pesticides |  |
| Other______________________ |  |

2.	State the name and address of any waste hauler(s) employed by your company.

| A: | B: |
| --- | --- |

3.	Are there any sludges, liquids or spill clean up materials placed with the trash for disposal?

Yes______ No_____	Describe discarded waste:_________________

State name and address of hauler for this waste:

4.         Does your facility employ the service of a commercial laundry? Yes______   No________

5.	State name and address of the company:

SECTION I - DRINKING WATER TREATMENT OPERATIONS

1.	Please describe the drinking water treatment operations at your facility including:  the water source and chemicals used in the operations; filter material; volume of filter material expected to be discharged annually; per cent (%) solids of residuals; method of residuals discharge, (including storage capacity and a continuous low flow feed rate) and backwash and recycling operations.

2.	Do you have any operations in addition to drinking water treatment at or adjacent to your facility, e.g., vehicle maintenance, equipment maintenance, laboratory, etc., that have a sewer discharge?  If yes, provide a description of each including the chemicals associated with each operation.

SECTION J - WASTEWATER DISCHARGE

* For more than one discharge location, please make copies of this page.

1.	Previously permitted sampling location number if applicable  ____________ (If new application, please leave sampling location number blank.)

2.	Complete the following chart and provide descriptions on the following page:

| Type of Discharge Water Treatment Related | Flow (GPD) indicate whether measured or estimated Ave Peak |  | Proposed % solids in the discharge Ave Max |  | Sanitary Sewer Connection from your map | Does wastewater Discharge to Storm Drain or Surface Water? | Is Discharge Batch (describe frequency and duration) or Continuous? |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1. Sludge |  |  |  |  |  |  |  |
| 2. Backwash |  |  |  |  |  |  |  |
| 3. Reverse Osmosis Reject Water |  |  |  |  |  |  |  |
| Non-Water Treatment Related | XXXXXXXXXXXXXXXXXXXXX |  | XXXXXXXXXXXXXXXXXXXXXXXXXXX |  | XXXXXXXXXXXXXXXXXXXXX | XXXXXXXXXXXXXXXXXXXXXXXXXXXXXX | XXXXXXXXXXXXXXXXXXXXXXXXXXX |
| 1. Non Contact Cooling Water |  |  | XXXXXXXXXXXXXXXXXX |  |  |  |  |
| 2. Boiler Blowdown |  |  | XXXXXXXXXXXXXXXXXX |  |  |  |  |
| 3. Air Pollution Wastewater |  |  | XXXXXXXXXXXXXXXXXX |  |  |  |  |
| 4. Process Wastewater other than Drinking Water Treatment (describe source) |  |  | XXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXX |  |  |  |  |
| 5. Sanitary Wastewater1 |  |  | XXXXXXXXXXXXXXXXXX |  |  |  |  |
| Other: |  |  | XXXXXXXXX |  |  |  |  |
| Total |  |  | XXXXXXXXX |  |  |  |  |

1 human and domestic waste from such sources as lavatories, showers, and kitchens.

How is wastewater flow measured?

If estimated, how did you arrive at the estimated amount?

2a.	Describe here how sludge is generated and identify the contributing sources.

2b.	Describe how backwash is generated.

2c.	Describe the sources of other process wastewater streams generated at the facility.

3.	Are any process changes planned for the next two years which would affect the discharge volume or characteristics? yes___no___ If yes, briefly describe these changes and their affects on the discharge volume and characteristics.  Include treatment modifications, variations in discharge volume, and additional sewer connections.

SECTION J - WASTEWATER DISCHARGE  (continued)

4.	Does any wastestream have a flow measuring device?   ____YES     _____NO

Which ones? ______________________________

A. If yes, check type of meter or device (and indicate location of device):

_____Weir

Type of Weir:

_____ V-Notch _____60   _____45  _____30   _____22.5

_____ Contracted Rectangular Sharp Crested Weir (with end contractions)

_____ Suppressed Rectangular Sharp Crested Weir (without end contractions)

_____ Parshall Flume   size _______

_____ Magmeter

_____ Venturi Meter

_____ Other _______________

B. If no, is there a reason for not installing a flow measuring device?

NOTE:  If you do not have a flow measuring device, you will be required by your permit to	install one.

SECTION K - WASTEWATER CONSTITUENTS

*(For more than one process discharge, make copies of these pages)

1.	Check the conventional, toxic and hazardous pollutants expected to be present in your wastewater discharge for each process connection.  If you are unable to identify the characteristics you must submit MSDS to represent the characteristics of each process discharge.

In addition, you must sample your proposed discharge and submit analytical data showing all pollutants regulated by the MWRA at 360 CMR 10.021-10.024, expected to be present in the wastestream.  All analyses must be performed by a DEP certified lab according to procedures set forth in 40 CFR Part 136.  If there is no test method in Part 136 for a pollutant, contact the Permit section, at (617)241-2381 for information on acceptable test methods to use.  The samples must represent the discharge after all pretreatment and prior to mixing with any other streams.

Previously permitted sampling location number if applicable ____________________ (If new application, please leave sampling location number blank)

|  | Provide average pH _______ high pH _______ low pH ________ |  | Ammonia |
| --- | --- | --- | --- |
|  | Oil or grease (petroleum or mineral origin) |  | Total Suspended Solids |
|  | Oil or grease (animal or vegetable origin) |  | BOD5 |
| VOLATILE COMPOUNDS |  |  |  |
|  | ACROLEIN |  | ACRYLONITRILE |
|  | BENZENE |  | BROMOFORM |
|  | BROMODICHLOROMETHANE |  | BROMOETHANE |
|  | CARBON DISULFIDE |  | CARBON TETRACHLORIDE |
|  | CHLOROBENZENE |  | CHLOROETHANE |
|  | 2-CHLOROETHYL VINYL ETHER |  | CHLOROFORM |
|  | CHLOROMETHANE |  | DIBROMOCHLOROMETHANE |
|  | 1,1-DICHLOROETHANE |  | 1,2-DICHLOROETHANE |
|  | 1,1-DICHLOROETHENE |  | t-1,2-DICHLOROETHENE |
|  | 1,2-DICHLOROPROPANE |  | c-1,3-DICHLOROPROPENE |
|  | t-1,3-DICHLOROPROPENE |  | ETHYLBENZENE |
|  | METHYLENE CHLORIDE |  | STYRENE |
|  | 1,1,2,2-TETRACHLOROETHANE |  | TETRACHLOROETHENE |
|  | TOLUENE |  | 1,1,1-TRICHLOROETHENE |
|  | 1,1,2-TRICHOLOROETHANE |  | TRICHLOROFLUOROMETHANE |
|  | VINYL ACETATE |  | VINYL CHLORIDE |
|  | XYLENE |  |  |

SECTION K - WASTEWATER CONSTITUENTS (continued)

| ACID/BASE/NEUTRAL COMPOUNDS |  |  |  |
| --- | --- | --- | --- |
|  | ACENAPHATHENE |  | ACENAPHTHYLENE |
|  | ANTHRACENE |  | BENZIDINE |
|  | BENZO(A)ANTHRACENE |  | BENZO(B) FLUORANTHENE |
|  | BENZO(K) FLUORANTHENE |  | BENZO(GHI) PERYLENE |
|  | BENZO(A)PYRENE |  | BENZYL BUTYL PHTHALATE |
|  | BIS (2-CHLOROETHOXY) METHANE |  | BIS (2-CHLOROETHYL) ETHER |
|  | BIS (2-CHLOROISOPROPYL) ETHER |  | BIS (2-ETHYLHEXYL) PHTHALATE |
|  | 4-BROMOPHENYL PHENYL ETHER |  | 4-CHLOROANILINE |
|  | 2-CHLORONAPHTHALENE |  | 4-CHLOROPHENYL PHENYL ETHER |
|  | CHRYSENE |  | DIBENZO (A,H) ANTHRACENE |
|  | DIBENZOFURAN |  | 1,2-DICHLOROBENZENE |
|  | 1,3-DICHLOROBENZENE |  | 1,4-DICHLOROBENZENE |
|  | 3,3'-DICHLOROBENZIDINE |  | DIETHYL PHTHALATE |
|  | DIMETHYL PHTHALATE |  | DI-N-BUTYL PHTHALATE |
|  | 2-METHYL-4,6-DINITROPHENOL |  | 2,4-DINITROTOLUENE |
|  | 2,6-DINITROTOLUENE |  | DI-N-OCTYL PHTHALATE |
|  | 1,2-DIPHENYLHYDRAZINE |  | FLUORENE |
|  | HEXACHLOROBENZENE |  | HEXACHLOROETHANE |
|  | INDENO (1,2,3-cd) PYRENE |  | ISOPHORONE |
|  | 2-METHYLNAPHTHALATE |  | 2-METHYLPHENOL (o-CRESOL) |
|  | 3-METHYLPHENOL (m-CRESOL) |  | 4-METHYLPHENOL (p-CRESOL) |
|  | NAPHTHALENE |  | NITROBENZENE |
|  | N-NITROSO-DI-N-PROPYLAMINE |  | N-NITROSODIMETHYLAMINE |
|  | N-NITROSODIPHENYLAMINE |  | PENTACHLOROPHENOL |
|  | PYRENE |  | 1,2,4-TRICHLOROBENZENE |
|  | 2,4,5-TRICHLOROPHENOL |  |  |

SECTION K - WASTEWATER CONSTITUENTS (continued)

| HAZARDOUS SUBSTANCES |  |  |  |
| --- | --- | --- | --- |
|  | ACETALDEHYDE |  | ALLYL ALCOHOL |
|  | ALLYL CHLORIDE |  | AMYL ACETATE |
|  | ANILINE |  | BENZONITRILE |
|  | BENZYL CHLORIDE |  | BUTYL ACETATE |
|  | BUTYLAMINE |  | CROTONALDEHYDE |
|  | CYCLOHEXANE |  | 2,2-DICHLOROPROPIONIC ACID |
|  | DIETHYL AMINE |  | 1,3-DINITROBENZENE |
|  | DIMETHYL AMINE |  | ETHYLENE DIAMINE |
|  | ETHYLENE DIBROMIDE |  | FURFURAL |
|  | ISOPRENE |  | ISOPROPANOLAMINE DODECYLBENZENESULFONATE |
|  | METHYL MERCAPTAN |  | METHYL METHACRYLATE |
|  | MONOETHYL AMINE |  | MONOMETHYL AMINE |
|  | NAPTHENIC ACID |  | NITROTOLUENE |
|  | PHOSGENE |  | PROPYLENE OXIDE |
|  | QUINOLINE |  | RESORCINOL |
|  | TRIETHANOLAMINE DODECYLBENZENESULFONATE |  | TRIETHYLAMINE |
|  | TRIMETHYLAMINE |  | XYLENOL |

SECTION K - WASTEWATER CONSTITUENTS (continued)

| PESTICIDES/PCBs |  |  |  |
| --- | --- | --- | --- |
|  | ALDRIN |  | ENDRIN |
|  | ALPHA-BHC |  | ENDRIN ALDEHYDE |
|  | BETA-BHC |  | HEPTACHLOR |
|  | GAMMA-BHC |  | HEPTACHLOR EPOXIDE |
|  | DELTA-BHC |  | PCB-1242 |
|  | CHLORDANE |  | PCB-1254 |
|  | 4,4-DDT |  | PCB-1221 |
|  | 4,4-DDE |  | PCB-1232 |
|  | 4,4-DDD |  | PCB-1248 |
|  | DIELDRIN |  | PCB-1260 |
|  | ALPHA-ENDOSULFAN |  | PCB-1016 |
|  | BETA-ENDOSULFAN |  | TOXAPHENE |
|  | ENDOSULFAN SULFATE |  |  |
| TOTAL METALS |  |  |  |
|  | ALUMINUM |  | LEAD |
|  | ANTIMONY |  | MERCURY |
|  | ARSENIC |  | MOLYBDENUM |
|  | BERYLLIUM |  | NICKEL |
|  | BORON |  | SELENIUM |
|  | CADMIUM |  | SILVER |
|  | CHROMIUM |  | THALLIUM |
|  | COPPER |  | ZINC |

2.  Please describe any expected seasonal variations in wastewater constituents (what parameters are expected to be present or absent, expected changes in concentrations, and when they are likely to occur).

SECTION L - WASTEWATER PRETREATMENT

* (For more than one process discharge make copies of this page.)

1.	Previously permitted sampling location number if applicable _________ (If new application, please leave sampling location number blank)

2.	Complete the following table for each treated process wastestream at your facility.

| 1 Treated Wastestream | 2 Pretreatment | 3 DEP Classification of Pretreatment System | 4 Sewer Connection From Map |
| --- | --- | --- | --- |

KEY

1-Treated Wastestream

Provide a description of the treated wastestream.

2-Pretreatment

a. Neutralization/pH adjustment	f. Silver Recovery

b. Chemical precipitation		g. Screen/Grit removal

c. Sedimentation 			h. Grease Trap

d. Filtration			i. Gas/Oil Separator

e. Ion exchange			j. Other _____________

3-Massachusetts Department of Environmental Protection (DEP) Pretreatment System Classification.

List Class 1 through 5 to indicate the pretreatment system operator class required to operate your pretreatment system.

4-Sewer Connection

Take from F-1 on page 9 of this application.

3. 	List name and DEP operator grades for all certified pretreatment system operators working at your facility.

Operator Name _______________________	Grade_____	Job Title________________

Operator Name _______________________	Grade_____	Job Title________________

Operator Name _______________________	Grade_____	Job Title________________

SECTION L - WASTEWATER PRETREATMENT (continued)

4.	List all the applicable Federal Categorical Pretreatment Standards established by the US EPA (Environmental Protection Agency), for your facility.

_____________________________

_____________________________

_____________________________

# OTHER FILINGS:

There are circumstances when the MWRA cannot issue a permit to you until you fulfill the requirements of another agency.  This page asks for information about whether you are required to file with the Massachusetts Historical Commission (MHC) or under the Massachusetts Environmental Policy Act (MEPA) and the status of your filing, if any.  If you have any questions about the requirements of those agencies, please contact them for information: MHC may be reached at 617-727-8470; the MEPA office may be reached at 617-727-5830.

A.	Is the activity for which you require an MWRA permit a part of a project that is likely to impact a geographic area and affect or cause a change in the historical, architectural, archeological, or cultural qualities of a property as defined by the Massachusetts Historical Commission (MHC)?  (Answer “no” if this notice is for an existing permit or you are not doing new construction.  MHC defines “new construction” as a modification to the land or any existing structure.)   yes   no  If “no,” skip question B.

B.		If your answer to question A is “yes:”

(1)	Have you provided the required project notification form (950 CMR 71, Appendix A) to the MHC?   yes   no

(2)	Briefly describe the status of the project with MHC.   Provide documentation (see 950 CMR 71.07) allowing the MWRA to act on this application.  If you have not provided notice to the MHC, explain why you have not provided notice and when you will provide notice.

C.	Is the activity for which you require an MWRA permit a part of a project that is subject to review under the Massachusetts Environmental Policy Act (MEPA)?  (Answer “no” if this notice is for an existing permit or not part of a larger project.  The MEPA review thresholds are found in 301 CMR 11.03.)    yes    no  If “no,” skip question D.

D.	If your answer to question C is “yes”:

(1)	Have you made the required MEPA filing?   yes    no

(2)	Briefly describe the status of the MEPA review.  Provide documentation (see 301 CMR 11.12) allowing the MWRA to act on this application.  If you have not filed with MEPA, explain why you have not filed and when you will file.

END OF APPLICATION